SECTION 01025  MEASUREMENT AND PAYMENT

A.
Payment

1.
Payment for all work done in compliance with the Contract Documents, inclusive of furnishing all manpower, equip​ment, materials, and performance of all operations rela​tive to construction of this project, will be made under Pay Items listed in the Bid Form and described herein.  Work for which there is not a Pay Item will be considered incidental to the Contract and no additional compensa​tion will be allowed.

2.
The Contractor's attention is again called to the fact that the bids for the various items of work are intended to establish a total price cost for completing the work in its entirety.  Should the Contractor feel that the cost for any item of work has not been established by the Bid Form he shall include the cost for that work in some other applicable bid item, so that his total amount bid for the project does reflect his total price for complet​ing the work in its entirety.

3.
The quantities for payment under this Contract shall be determined by actual measurement of the completed items, in place, ready for service and accepted by the Owner, in accordance with the applicable method of measurement.  A representative of the Owner shall witness all field mea​surements.

4.
Payment for each bid item will be made at the contract lump sum or unit price bid and shall be full compensation for all labor, materials and equipment necessary to con​struct the applicable item as specified or shown on the drawings, including all items called for or that can rea​sonably be inferred from the specifications or drawings.  If any items required for a complete job are omitted or not shown, such items shall be provided without addi​tional cost to the Owner.

B.

Base Bid:
1. Construction stakeout (Bid Item No. 1)

a.
This lump sum pay item is to include any and all cost associated with construction survey.

2. Certified As-Built Surveys (Bid Item No. 2)

a.
This lump sum pay item is to include any and all cost associated with as-built surveys.

3. Mobilization (Bid Item No. 3)

a. This lump sum pay item is to include any and all cost associated with mobilizing and demobilizing equipment to and from site.

4. Dewatering (Bid Item No. 4)

a. This lump sum pay item is to include any and all equipment necessary to maintain dewatering operation.
5. Floating Turbidity Barrier (Bid Item No. 5)

a.
This unit price pay item is to include any and all cost associated with furnish install and removal of the floating turbidity barrier.

6. Silt Fences (Bid Item No. 6)

a. This unit price pay item is to include any and all cost associated with furnish install and removal of the silt fences.

7. FDOT storm manholes (construction) (Bid Item No. 7)

a.
This unit price pay item is to include any and all cost associated with construction of FDOT storm manholes.
8. FDOT Type C Inlet (construction) (Bid Item No. 8)

a. This unit price pay item is to include any and all cost associated with the construction of FDOT Type C Inlets.

9. FDOT Type D Inlet (construction) (Bid Item No. 9)

a. This unit price pay item is to include any and all cost associated with the construction of FDOT Type D Inlets.

10. FDOT Type J8 Inlet (construction) (Bid Item No. 10)

a.
This unit price pay item is to include any and all cost associated with the construction of FDOT Type J8 Inlets.

11. Excavation and Embankment (Bid Item No. 11)

a.
This unit price pay item is to include any and all cost associated with the necessary earthwork.

12. 15” RCP (Bid Item No. 12)

a. This unit price pay item is to include any and all cost associated with installation of the 15” RCP.

b. This unit price also includes the cost of the filter fabric used to wrap the joints.

13. 18” RCP (Bid Item No. 13)

a. This unit price pay item is to include any and all cost associated with installation of the 18” RCP.

b.

This unit price also includes the cost of the filter fabric used to wrap the joints.

14. 24” RCP (Bid Item No. 14)

a. This unit price pay item is to include any and all cost associated with installation of the 24” RCP.

b.
This unit price also includes the cost of the filter fabric used to wrap the joints.
15.
30” RCP (Bid Item No. 15)

a.
This unit price pay item is to include any and all cost associated with installation of the 30” RCP.


b.
This unit price also includes the cost of the filter fabric used to wrap the joints.

16. 36” RCP (Bid Item No. 16)

a.
This unit price pay item is to include any and all cost associated with installation of the 36” RCP.

b.
This unit price also includes the cost of the filter fabric used to wrap the joints.

17. 15” HDPE Storm Culvert (Bid Item No. 17)

a.
This unit price pay item is to include any and all cost associated with installation of the 15” RCP.

b.
This unit price also includes the cost of the filter fabric used to wrap the joints.

18. 18” HDPE Storm Culvert (Bid Item No. 18)

a.
This unit price pay item is to include any and all cost associated with installation of the 18” RCP.

b.
This unit price also includes the cost of the filter fabric used to wrap the joints.

19. 24” HDPE Storm Culvert (Bid Item No. 19)

a.
This unit price pay item is to include any and all cost associated with installation of the 18” RCP.

b.
This unit price also includes the cost of the filter fabric used to wrap the joints.
20. Tideflex Check Valves (Bid Item No. 20)

a. This unit price pay item is to include any and all cost associated with the installation of (Red Valve) Tideflex Check Valves.

21. X-Bar Cross Support (Bid Item No. 21)

a.
This unit price pay item is to include any and all cost associated with the construction of X-Bar Cross Supports for the HDPE storm culverts.

22. Sodding (Bid Item No. 22)

a.
This unit price pay item is to include any and all cost associated with grassing (sodding) of the disturbed area.

END OF SECTION

ORB5220093  July 24, 2002
MEASUREMENT AND PAYMENT
01025-2
OR92266MS

FW-L52-100-04  July 24, 2002
MEASUREMENT AND PAYMENT
01025-2

