SECTION 01300  SUBMITTALS

A.
General

1.
This section includes the submission of shop drawings, samples, operation and maintenance manuals.  There may be other requirements in the contract documents for submit​tals that are not addressed herein.

2.
Identify submittals with the name of the project, date, and accompany each lot submitted with a letter of trans​mittal referring to the name of the project, the specifi​cation section and page number, and/or drawing number for identification for each item.  Submittals for the same type of work shall be numbered consecutively, and the numbering system shall be retained throughout all revi​sions. 

3.
In all submittals and schedules, allow 30 days for the Owner's review of each shop drawing submittal or resub​mittal.

B.
Shop Drawings
1.
Prepare shop drawings in accordance with Paragraph 6.23 through 6.28 of the General Conditions and send to the office of the Owner carriage prepaid.  Submit shop draw​ings and product data for all materials and equipment to be incorporated into the Work.

2.
The term "shop drawing" as used herein includes fabrica​tion, erection and installation, layout, and setting drawings, manufacturer's drawings, descriptive litera​ture, catalogs and brochures, performance and test data, mix design, documentation of existing pavement marking, tack coat, leveling course and surface course, and pave​ment marking, and the positions thereof conform to the Contract requirements.  As used herein, the term "manufactured" applies to standard units usually mass-produced; and "fabricated" means items specifically assembled or made out of selected materials to meet indi​vidual design requirements.

3.
Shop drawings shall establish the actual detail of all manufactured or fabricated items, indicate proper rela​tion of adjoining work, amplify design details of mechan​ical and electrical equipment in proper relation to phys​ical spaces in the structure, and incorporate minor changes of design or construction to suit actual condi​tions.  Shop drawings shall be drawn to scale and shall be completely dimensioned.

4.
If shop drawings cover more than one piece of equipment or components, the shop drawing shall show the entire assembly and the relationship and connections between all components.

5.
Coordinate the shop drawings from different manufac​turer's and suppliers so that all equipment and material will fit and work together.

6.
The contract drawings are diagrammatic and are intended to indicate general arrangement of equipment, ducts, con​duits, piping, and fixtures.  The Contractor shall be fully responsible for observing the need for and making any changes in the arrangement of piping, connections, wiring, manner of installation, etc., which may be required by the materials/equipment he proposes to supply both as pertains to his own work and any work affected under other parts, headings, or divisions of drawings and specifications.  Changes shall be reviewed in advance by the Owner.

7.
Shop drawings, including manufacturer's literature, cata​log cuts, or other printed material shall be entitled with the name of the project on each sheet and shall oth​erwise be identified by listing the particular Division, Section, Article, or reference of the work pertaining thereto.  Differing items shall not be submitted on the same sheet.


Submit five copies of shop drawings and other submittals required in the specifications.  Owner shall retain three copies and return two to Contractor.

END OF SECTION

ORB5220093  July 24, 2002
SUBMITTALS
01300-2
OR92266MS

FW-L52-100-04  July 24, 2002
SUBMITTALS
01300-2

