SECTION 01500  CONSTRUCTION FACILITIES AND TEMPORARY CONTROLS

This section requires the Contractor to provide:

a.
Temporary Electrical Power - If the Owner is going to provide electricity, you must change this section.

b.
Temporary Water.

c.
Temporary Sanitary Facilities.

Construction Staking - Paragraph 4.10 of the General Condi​tions requires the Owner to establish reference points.  You may want to have the Owner provide (hopefully by us) addi​tional surveys which should be outlined here.  If we are to provide the surveys, coordinate the work in this section with your Scope of Work.  Include Paragraphs D.1 and 2 only if the Owner intends to furnish construction staking in addition to the requirements of Para​graph 4.10 of the General Conditions.

A.
Temporary Electric Power
Purchase electric power or provide portable electric power for the construction of the project.  Provide for the exten​sion of utility lines to the point of usage.

B.
Temporary Water
1.
Related Work Specified Elsewhere:

a.
Earthwork and Trenching:  02201

b.
Formwork, Reinforcing, and Concrete:  03103

2.
Make arrangements for developing water sources and supply all labor and equipment to collect, load, transport, and apply water as necessary for compaction of materials, concrete construction operations, testing, dust control, and other construction use.

3.
Furnish potable drinking water in suitable dispensers and with cups for use of all employees at the job site during the entire construction period.

C.
Temporary Sanitary Facilities
1.
Provide temporary toilet facilities separate from the job office.  Maintain these during the entire period of con​struction under this Contract for the use of all con​struction personnel on the job.  Provide enough chemical toilets to conveniently serve the needs of all personnel.

2.
Chemical toilets and their maintenance shall meet the requirements of the State and local health regulations and ordinances.  Any facilities or maintenance methods failing to meet these requirements shall be corrected immediately.

D.
Construction Staking
1.
The Owner will furnish construction staking to execute the work as described below.  The Contractor shall make timely demands of the Owner for such staking.  A written notice of not less than three working days will be required in advance of setting stakes.  Preserve all con​struction stakes, reference points, and other survey points.  Such surveys shall constitute instructions from the Owner.  Do not proceed with work that requires con​struction staking until construction stakes have been provided.

2.
Should the Owner's representative be required to reset construction stakes, the cost for such resetting will be at the then current price per diem rates.  The charges for such work will be deducted from the Contractor's pro​gress payments for the month in which the surveying work is done and all succeeding months.

This paragraph requires Contractor to protect against pollution from dewatering operations.

E.
Barricades
Install silt barriers, turbidity curtains and screens for capturing sediments-solids from erosion and liquids from tem​porary pumping and dewatering activities.

This paragraph says watchmen are not required but you may want to add a requirement to temporarily fence existing facilities.

F.
Security
Full time watchmen will not be specifically required as a part of the Contract, but the Contractor shall inspect the area daily and take whatever measures are necessary to pro​tect the safety of the public, workmen, and materi​als, and provide for the security of the site, both day and night.

This paragraph requires Contractor to protect against pollution from erosion and dust.

G.
Drainage, Erosion, Dust, and Mud Control
1.
Provide for the drainage of stormwater as may rain or flow onto or be discharged from the site in performance of the work.  Drainage facilities shall be adequate to prevent damage to the work, the site, and adjacent prop​erty.

2.
Existing drainage channels and conduits shall be cleaned, enlarged or supplemented as permitted by drainage control agencies to carry all runoff attributable to Contractor's operations.  Dikes shall be constructed to divert runoff from entering adjacent property (except in natural chan​nels), to protect Owner's facilities and the Work, and to direct water to drainage channels or conduits.  Ponding shall be provided to prevent downstream flooding and waterway contamination.

3.
Prevent erosion of soil on the site and adjacent property resulting from his construction activities.  Effective measures shall be initiated prior to the commencement of clearing, grading, excavation, or other operation that will disturb the natural protection. Install silt barri​ers or screens for capturing sediments/solids from ero​sion and dewatering activities.

4.
Work shall be scheduled to expose areas subject to ero​sion for the shortest possible time, and natural vegeta​tion preserved to the greatest extent practicable.  Tem​porary storage and construction buildings shall be located, and construction traffic routed, to minimize erosion.  Temporary fast growing vegetation or other suitable ground cover shall be provided as necessary to control runoff.

5.
Perform dust and mud control operations to prevent con​struction operations from producing dust and mud in amounts harmful to persons or causing a nuisance to per​sons living nearby or occupying buildings in the vicinity of the work.  Use water or dust preventative to control dust during dry weather.  Take necessary steps to prevent the tracking of mud onto adjacent streets and highways.

You may want to include the requirement for a project identifica​tion sign(s) (this paragraph calls for 2).  If you include this requirement, check the wording and colors for the required sign.

H.
Project Sign(s)
Provide and erect two signs near the project site in accor​dance with the attached drawing.  Construct each sign of 3/4-inch exterior grade plywood with 4-inch by 4‑inch posts.  Brace each sign with at least 2-inch x 4‑inch lumber.  Paint the sign white with black, block letters.

This paragraph requires Contractor to provide a field office, parking spaces, telephone and storage shed, but does not specify size or location.  You may want to show the location on your drawings.

I.
Contractor's Field Office and Storage Sheds
Provide field office with parking spaces, a telephone and storage sheds for the performance of the work, and pro​tec​tion of materials and equipment.  Provide personnel to answer the telephone during working hours.  If the facil​ities are located off the project site, the Contractor shall indemnify and insure the owner of the land against claims for accident, theft, and other items in accordance with Paragraphs 5.3 through 5.7 and 6.36 through 6.39 of the General Conditions.

J.
Removal of Temporary Construction
After the date of Substantial Completion and before the Work is completed remove the various temporary facili​ties, serv​ices, and controls and legally dispose of them.  Portions of the site used for temporary facilities shall be recondi​tioned and restored to their previous condi​tion.

END OF SECTION

FW-L52-100-04   July 24, 2002
CONSTRUCTION FACILITIES AND TEMPORARY CONTROLS
01500-


