SECTION 01600  MATERIAL AND EQUIPMENT

This section requires the Contractor to properly store and pro​tect materials and equipment brought to the project site.

You may want to designate and show the storage area on the plans.

A.
Transportation and Handling

Deliver manufactured materials and products to the project site as needed for installation, undamaged, in original packages, containers, or bundles, as packaged by the manufac​turer with manufacturer's name, brand, seals, and labels intact.  Materials other than those designated within the Specifications shall not be delivered to the project site.

B.
Storage and Protection
1.
Protect and preserve all materials until final acceptance of the Project.  Store all materials in a manner to facilitate inspection and to prevent damage, contamina​tion, or intermixing.

2.
Miscellaneous metal, reinforcement bars, welded wire fab​ric, and masonry reinforcement materials shall be stored to prevent contact with the ground and from being damaged by its own weight or by other loads.  Reinforce​ment which has become muddy shall be cleaned before use. 

3.
Store cementitious materials in weathertight sheds on elevated floors away from damp surfaces.  Prevent freez​ing.

4.
Do not use and dispose of materials that have been stored for longer than their maximum recommended shelf life or beyond their recommended shelf date.

5.
Store and protect all material and equipment in accor​dance with manufacturer's recommendations.

6.
Store mechanical equipment with moving parts (pumps, valves, operators, etc.) in weathertight sheds on ele​vated floors.

7.
Store electrical and electronic control equipment (motor control centers, panelboards, switch gear, wiring devices, etc.) in weathertight sheds on elevated floors and in an environment similar to the one in their final location (ventilated, air conditioned, etc.).  Store all other electrical material in a manner to prevent contact with the ground and from being damaged by its own weight or by other loads.

C.
Protection of Equipment
1.
During construction, protect all equipment from moisture absorption and metallic component corrosion by appropri​ate use of strip heaters, lamps, coverings, or other suitable means.  Apply protection immediately on receiv​ing the products and maintain continually.

2.
Keep products clean by elevating above ground or floor and by using suitable coverings.  Take such precautions as are necessary to protect apparatus and materials from damage.  Failure to protect materials is sufficient cause for rejection of the apparatus or material in question.

3.
Protect factory finish from damage during construction operations and until acceptance of the project.  Satis​factorily restore any finishes that become stained or damaged.

D.
Equipment Selection and Serviceability
1.
Locate and install all equipment so that it may be serv​iced.  Demonstrate that there is room to remove all fan shafts, bearings, filters, pumps and motors, and sim​ilar equipment.

2.
Equipment which is too large or poorly located to permit servicing shall be replaced or repositioned at no addi​tional cost to the Owner.

3.
Where piping, control diagrams or sequencing differ from the recommended piping arrangements of the equipment manufacturer, and will directly affect the equipment per​formance, the manufacturer's recommendations shall be submitted in writing to the Engineer for review prior to purchasing the equipment involved.  Obtain such recommen​dations from the manufacturers in order to effect correct and perfect operation of the equipment at the capacities and temperatures indicated.

END OF SECTION

ORB9919000   July 24, 2002
MATERIAL AND EQUIPMENT
01600-

FW-L52-100-04   July 24, 2002
MATERIAL AND EQUIPMENT
01600-


