MEMORANDUM

Memorandum To: James Linkogle
September 23, 2003

Page 2

	TO:
	James Linkogle
	September 23, 2003

	FROM:
	Michael A. Hanson, PE
	

	SUBJECT:
	Longboat Key
Village Drainage Improvements
Specialty Product Requirements
	


We are writing to inform you of the specialty product needs for this project.  Structure S-10 is experiencing tidal influx problems due to tide elevations that exceed the constructed inlet throat elevation.  After discussions with Town staff we have determined that the most effective solution to this is the installation of 3 Tideflex backflow prevention valves.  To our knowledge this is the only product available that will suit this specific application.

FW-L52-100-05/MAH/2003078MAH

[image: image2.wmf]
FW-L52-100-05/MAH/2003078MAH

[image: image1.wmf]

[image: image1.wmf][image: image2.wmf]