October 19, 2000						VIA FAX


								371-2569





Michael A. Hanson, PE,  Project Manager


Boyle Engineering Corporation


5971 Cattle Ridge Boulevard


Suite 200 Sarasota, Florida  34232





RE:	Town of Longboat Key


	Village Drainage Study


	Post presentation comments.





Dear Mr. Hanson,





Thank you for your presentation at the Planning and Zoning Board Meeting.  The following comments represent our requests to update your presentation and report to make it easier to follow.  Please review and provide comment with respect to these items prior to October 24 , 2000.  This item is scheduled to be on the agenda for the next Town Commission Workshop meeting on November 14th, 2000, at 1:00 P.M., at the Town Commission Chambers.








Executive summary:


Third paragraph following first sentence add:





“This model is based upon providing a level of service to minimize the seasonal flooding and maintain at least one passable lane on each road segment.  The model is not intended to eliminate all flooding for any given rain event.”








Fifth paragraph, following first sentence, add:





“Alternate 3 will provide for desired relief at an estimated cost of $235,000.


“Alternate 3 will involve the installation and resizing of pipe and inlet structures.”





Town of Longboat Key


	Village Drainage Study


	Post presentation comments.


	October 19, 2000


	Page two








Add inserts of estimated cost and map of recommended Alternate Three to be included with Executive Summary section.





Round off figures in estimate sheets as follows;





Alternate One,	$176,000


Alternate Two	$190,000


Alternate Three	$235,000





Add alternates for costs of additional treatment areas / facilities if required.





Modify “Proposed Flood Area” terminology on existing and proposed flood conditions map.





Bring example of flap valve.








Thank you.


Sincerely,














James K. Linkogle, Public Works Project Manager








cc:	Martin P. Black, Community Services Director


