May 30, 2003							VIA FAX


								926-2432








Gerry Martin, Assistant Project Manager


McLeod Land Services, Inc.


P.O. Box 5848


Sarasota, Florida  34277





RE: Silt Fencing Erosion Control


Village Drainage Project


Contract and Bid #03-010





Dear Gerry,








Please be advised while inspecting the construction site yesterday I noticed that the silt fence for erosion control was not properly installed to standards.  Please insure that prior to any excavation that all silt fence and erosion control measures are installed per plans and specifications.





Thanks for your cooperation.








Sincerely,














James K. Linkogle, Public Works Projects Manager








cc:	Juan Florensa, Public Works Director


Mike Hanson, P.E., Boyle Engineering





Attachments:	Sheet DC-1, Detail 2


